## Slide 1: Biocompatibility Survey
Michael DeSalvio, Kevin Ip, John Chi, Khine Win, Michael Nguyen

## Slide 2: Polyurethane
Properties
  Cheap
  Durable
  Strong
  High stress and strain (More tear-resistant than rubber)
Uses
  Tubing: catheters, dialysis, sutures, artificial heart valves
  Temporary implants: gastric bubbles
  Medical bedding (foam)
  Surgical drapes
  Wound dressing (hydrogels)
  Polyurethane implants (non-US)
  Condoms
  Electrical Insulation

## Slide 3: Polyurethane Catheter

## Slide 4: Hydrogels
Biocompatible gel
  Provides a moist environment to promote healing
  Promotes absorption and debriding of necrotic tissue
  Polymer based sheet to cover wounds and deliver drugs via a capsule design
  Reduce appearance of scars

## Slide 5: Hydrogel Contact
Traditional contacts are not permeable to O2
Water inside the contact transfers O2 from the outside to the eye
Silicon hydrogel contacts are permeable to O2
  Up to 5x more O2 can pass through
  Can be worn for up to 30 days w/o removal

## Slide 6: Stainless Steel
Properties
  Corrosion- and Heat- Resistant
  Durable and easily sterilized
  Inexpensive
  Easily manipulated to desired shape
  Inert, nice finish
Uses
  Implants (crowns, joints)
  Medical Instrument, (Scalpel, needles, )
  Bedpans, Trays, Carts..
  Tubing, cables
  Bone Plates, Screw, Rods
Inflated Balloon
Expanded Stent